## Energy Information
Electric Utility: Harrisonburg Electric Commission (HEC) | HEC Homepage
Electricity rate per kWh | 0.095
Fuel cost adjustment per kWh | 0.015
Total cost per kWh | 0.11
Electricity escalation rate | 0
Gas Utility: Columbia Gas of Virginia | Columbia Gas homepage
Gas rate per therm | 1.4815
Gas cost adjustment per therm | 0
1.4815
Gas escalation rate | 0
Database of State Incentives for Renewable Energy | DSIRE Homepage

## LCC Template
You might need to edit formulas/pointers in this cash flow table based on the nature of the analysis.
Givens & assumptions |  |  | These life cycle cost tables require you to enter some formulas. | [5 empty] | SIMPLE CASH FLOW TABLE
Life cycle period (years) |  |  | You might also need to edit formulas/pointers based on the nature of the analysis. | [5 empty] | Maintenance & Repair |  |  |  | Replacement |  |  |  | Energy
Cost of electricity (kWh) | 0.11 | [15 empty] | Option 1 |  | Option 2 |  | Option 3 |  | Option 4 |  | Total Simple Yearly Costs |  |  |  | Payback Period vs. Option 1
Electricity escalation rate | 0 |  | SIMPLE LIFE CYCLE COST TABLE |  |  |  |  | Time | Option 1 | Option 2 | Option 3 | Option 4 | Option 1 | Option 2 | Option 3 | Option 4 | Energy Used | Energy Cost | Energy Used | Energy Cost | Energy Used | Energy Cost | Energy Used | Energy Cost | Option 1 | Option 2 | Option 3 | Option 4 | Option 2 | Option 3 | Option 4
Cost of gas (therm) | 1.4815 | [6 empty] | 1 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas escalation rate | 0 |  |  | Option 1 | Option 2 | Option 3 | Option 4 | 2 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Purchase and Installation |  |  |  |  | 3 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Equipment |  |  |  |  | 4 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Periodic Costs | Cost | In Year(s) | Labor |  |  |  |  | 5 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Other cost A |  |  |  |  | 6 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Other cost B |  |  |  |  | 7 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Incentive A |  |  |  |  | 8 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Incentive B |  |  |  |  | 9 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 10 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Maintenance and Repair | 0 |  |  |  | 11 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 12 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Replacement | 0 |  |  |  | 13 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 14 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Energy | 0 |  |  |  | 15 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 16 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | End-of-Life |  |  |  |  | 17 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Salvage |  |  |  |  | 18 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Disposal |  |  |  |  | 19 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 20 | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | TOTAL LCC | 0 | 0 | 0 | 0 | Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DISCOUNTED LIFE CYCLE COST TABLE
|  |  |  | Option 1 | Option 2 | Option 3 | Option 4
|  |  | Purchase and Installation | 0 | 0 | 0 | 0
Equipment
Labor
Other cost A
Other cost B
Incentive A
Incentive B
Maintenance and Repair
Replacement
Energy
End-of-Life
Salvage
Disposal
|  |  | TOTAL LCC | 0 | 0 | 0 | 0
Note on N7: Papadakis, Maria C - papadamc: These numbers are "N", the increment of time. For our projects, they represent years. (As in the end of the year.)
Note on G9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on J9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on A12: Papadakis, Maria C - papadamc: List the periodic costs here and note which option they are for and what type (e.g., M&R or R). You will point to these in the cash flow tables.
Note on F25: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.
Note on G35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on J35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on F51: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.

## Furnace
You might need to edit formulas/pointers in this cash flow table based on the nature of the analysis.
Givens & assumptions |  |  | These life cycle cost tables require you to enter some formulas. | [5 empty] | SIMPLE CASH FLOW TABLE
Life cycle period (years) | 15 |  | You might also need to edit formulas/pointers based on the nature of the analysis. | [5 empty] | Maintenance & Repair |  |  |  | Replacement |  |  |  | Energy
Cost of electricity (kWh) | 0.11 | [15 empty] | 90 AFUE |  | 95 AFUE | [5 empty] | Total Simple Yearly Costs |  | Payback Period vs. 90 AFUE (Cumulative Savings)
Electricity escalation rate | 0 |  | SIMPLE LIFE CYCLE COST TABLE |  |  |  |  | Time | 90 AFUE | 95 AFUE |  |  | 90 AFUE | 95 AFUE |  |  | Energy Used | Energy Cost | Energy Used | Energy Cost |  |  |  |  | 90 AFUE | 95 AFUE | 95 AFUE
Cost of gas (therm) | 1.4815 | [6 empty] | 1 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -664.5133
Gas escalation rate | 0 |  |  | 90 AFUE | 95 AFUE |  |  | 2 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -629.0266
|  |  | Purchase and Installation | 4150 | 4850 |  |  | 3 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -593.5399
|  |  | Equipment | 4100 | 4900 |  |  | 4 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -558.0532
Periodic Costs | Cost | In Year(s) | Removal of old furnace | 350 | 350 |  |  | 5 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -522.5665
|  |  | Columbia Gas Rebate | -300 | -400 |  |  | 6 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -487.0799
Assume M&R, R the same for both options | [7 empty] | 7 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -451.5932
No periodic costs | [7 empty] | 8 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -416.1065
[8 empty] | 9 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -380.6198
[8 empty] | 10 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -345.1331
|  |  | Maintenance and Repair | 0 | 0 |  |  | 11 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -309.6464
[8 empty] | 12 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -274.1597
|  |  | Replacement | 0 | 0 |  |  | 13 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -238.673
[8 empty] | 14 | 0 | 0 |  |  | 0 | 0 |  |  | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -203.1863
|  |  | Energy | 10113.7067 | 9581.4063 |  |  | 15 | 0 | 0 | [6 empty] | 455.1111 | 674.2471 | 431.1579 | 638.7604 |  |  |  |  | 674.2471 | 638.7604 | -167.6996
16
|  |  | End-of-Life | 0 | 0 |  |  | 17
|  |  | Salvage |  |  |  |  | 18
|  |  | Disposal |  |  |  |  | 19
20
Other Givens &Assumptions |  |  | TOTAL LCC | 14263.7067 | 14431.4063 | 0 | 0 | Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6826.6667 | 10113.7067 | 6467.3684 | 9581.4063 | 0 | 0 | 0 | 0
Current furnace efficiency | 0.8 | AFUE | Net Savings v. Option #1 |  | -167.6996
Current furnace energy use | 512 | therms | Payback year |  | None
Option 1 efficiency | 0.9 | AFUE
Option 2 efficiency | 0.95 | AFUE
Option 1 cost installed | 4100 | cost
Option 2 cost installed | 4900 | cost
Removal of old furnace, both options | 350 | cost
Federal EE tax credit only for 97 AFUE furnaces
Columbia Gas Rebates
Furnace ≥ 90 AFUE | -300 | rebate
Furnace ≥ 95 AFUE | -400 | rebate
Home heating load [current energy use X current AFUE] | 409.6 | therms
Annual energy use, 90 AFUE | 455.1111 | therms
Annual energy use, 95 AFUE | 431.1579 | therms
Current annual cost of energy for 80 AFUE furnace | 758.528
Annual cost of energy AFUE 90 | 674.2471
Annual cost of energy AFUE 95 | 638.7604
Note on N7: Papadakis, Maria C - papadamc: These numbers are "N", the increment of time. For our projects, they represent years. (As in the end of the year.)
Note on G9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on J9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on F11: Papadakis, Maria C - papadamc: Labor and equipment
Note on A12: Papadakis, Maria C - papadamc: List the periodic costs here and note which option they are for and what type (e.g., M&R or R). You will point to these in the cash flow tables.
Note on F25: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.

## Electric Vehicle (18000 Miles)
You might need to edit formulas/pointers in this cash flow table based on the nature of the analysis.
Givens & assumptions |  |  | These life cycle cost tables require you to enter some formulas. |  |  |  |  | SIMPLE CASH FLOW TABLE
Life cycle period (years) | 15 |  | You might also need to edit formulas/pointers based on the nature of the analysis. |  |  |  |  | Mainaince and repair | [5 empty] | Energy
Cost of electricity (kWh) | 0.11 | [12 empty] | Nissan Leaf S (2022) |  | Chevrolet Bolt LT (2023) |  | Tesla Model 3 (2020) |  |  |  |  | Payback Period vs.Nissan Leaf S
Electricity escalation rate | 0 |  | SIMPLE LIFE CYCLE COST TABLE |  |  |  | Time | Nissan Leaf S (2022) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020) | Nissan Leaf S (2022) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020) | Energy Used | Energy Cost | Energy Used | Energy Cost | Energy Used | Energy Cost | Nissan Leaf S (2022) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020)
Cost of gas (therm) | 1.4815 | [5 empty] | 1 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -2779.091 | -5867.4418
Gas escalation rate | 0 |  |  | Nissan Leaf S (2022) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020) | 2 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -2758.1819 | -6919.5836
|  |  | Purchase and Installation | 6600 | 9400 | 11415.3 | 3 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -2737.2729 | -7971.7254
|  |  | Equipment | 18000 | 22000 | 24879 | 4 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -2716.3638 | -9023.8672
Periodic Costs | Cost | In Year(s) | Labor |  |  |  | 5 | 1440 | 1440 | 2580 | 8000 | 16500 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 10041.1351 | 18520.2261 | 3093.2769 | -11195.4548 | -2076.0089
Honda Civic Oil Change | 45 | Yearly |  |  |  |  | 6 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -11174.5457 | -3128.1507
Honda Civic Repair | 1800 | 3 |  |  |  |  | 7 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -11153.6367 | -4180.2925
Honda Yearly Auto Insurance | 900 | Yearly | Civic Sale | -6000 | -6000 | -6000 | 8 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -11132.7276 | -5232.4343
Tesla Yearly Auto Insurace | 2580 |  | Clean Car Tex Credit | -5400 | -6600 | -7463.7 | 9 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -11111.8186 | -6284.5761
Chevrolet Bolt Yearly Auto Insurance | 1440 | [5 empty] | 10 | 1440 | 1440 | 2580 | 8000 | 16500 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 10041.1351 | 18520.2261 | 3093.2769 | -19590.9095 | 663.2821
Nissan Leaf S Yearly Auto Insurance | 1440 |  | Maintenance and Repair | 21600 | 21600 | 38700 | 11 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -19570.0005 | -388.8597
Chevrolet Bolt Battery Replacement | 16500 | 5 |  |  |  |  | 12 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -19549.0914 | -1441.0015
Nissan Leaf S Battery Replacement | 8000 | 5 | Replacement | 16000 | 33000 | 0 | 13 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -19528.1824 | -2493.1432
Nissan Leaf S Price | 18000 | [5 empty] | 14 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -19507.2733 | -3545.285
Chevrolet Bolt LT | 22000 |  | Energy | 9017.027 | 8703.3913 | 7699.1538 | 15 | 1440 | 1440 | 2580 |  |  | 0 | 5464.8649 | 601.1351 | 5274.7826 | 580.2261 | 4666.1538 | 513.2769 | 2041.1351 | 2020.2261 | 3093.2769 | -19486.3643 | -4597.4268
Tesla Model 3 | 24879 | [5 empty] | 16 | [12 empty] | 0 | 0 | 0 | 0 | 0
|  |  | End-of-Life |  |  |  | 17 | [12 empty] | 0 | 0 | 0 | 0 | 0
|  |  | Salvage |  |  |  | 18 | [12 empty] | 0 | 0 | 0 | 0 | 0
|  |  | Disposal |  |  |  | 19 | [12 empty] | 0 | 0 | 0
Other Givens &Assumptions | [6 empty] | 20 | [12 empty] | 0 | 0 | 0 | 0
Tesla Model 3 | 130 | MPGe | TOTAL LCC | 53217.027 | 72703.3913 | 57814.4538 | Total | 21600 | 21600 | 38700 | 16000 | 33000 | 0 | 81972.973 | 9017.027 | 79121.7391 | 8703.3913 | 69992.3077 | 7699.1538
Chevrolet Bolt LT | 115 | MPGe | Net Savings |  | -19486.3643 | -4597.4268
Nissan Leaf S | 111 | MPGe
Miles driven Annual for primary car | 18000 | miles
Sale of the Honda Civic | -6000 | cost
One Gallon of Gaseline to kWh | 33.7 | kWh | DISCOUNTED LIFE CYCLE COST TABLE
kWh/mile for Tesla Model 3 | 0.25923 | kWh/mile
kWh/mile for Chevrolet Bolt LT | 0.29304 | kWh/mile |  | Nissan Leaf S (2022) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020)
kWh/mile for Nissan Leaf S | 0.3036 | kWh/mile | Purchase and Installation | 6600 | 9400 | 11415.3
Equipment
Annual Energy Use for Tesla Model 3 | 4666.1538 | kWh/year | Labor
Annual Energy Use for Chevrolet Bolt LT | 5274.7826 | kWh/year | Other cost A
Annual Energy Use for Nissan Leaf S | 5464.8649 | kWh/year | Other cost B
Incentive A
Nissan Leaf S Used Clean Car Tax Credit | 5400 | $ | Incentive B
Chevrolet Bolt LT | 6600 | $
Tesla Model 3 | 7463.7 | $ | Maintenance and Repair
Replacement
Energy
End-of-Life
Salvage
Disposal
|  |  | TOTAL LCC | 6600 | 9400 | 11415.3
Note on M7: Papadakis, Maria C - papadamc: These numbers are "N", the increment of time. For our projects, they represent years. (As in the end of the year.)
Note on N7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on O7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on P7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on Z7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on AA7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on AB7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on AD7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on AE7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on AF7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on G9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on A12: Papadakis, Maria C - papadamc: List the periodic costs here and note which option they are for and what type (e.g., M&R or R). You will point to these in the cash flow tables.
Note on B15: Chizmadia, Alex Powell - chizmaap: $75 a month
Note on B16: Chizmadia, Alex Powell - chizmaap: $215 monthly
Note on B17: Chizmadia, Alex Powell - chizmaap: $120 monthly
Note on B18: Chizmadia, Alex Powell - chizmaap: $120 monthly
Note on B19: Chizmadia, Alex Powell - chizmaap: Estimated around 100,000 miles. also 5.55 years going 18,000 miles annually in primary car
Note on B20: Chizmadia, Alex Powell - chizmaap: Estimated around 100,000 miles. also 5.55 years going 18,000 miles annually in primary car
Note on F25: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.
Note on H29: Chizmadia, Alex Powell - chizmaap: this should match the final payback year
Note on G35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on F51: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.

## Electric Vehicle (8000 Miles)
You might need to edit formulas/pointers in this cash flow table based on the nature of the analysis.
Givens & assumptions |  |  | These life cycle cost tables require you to enter some formulas. |  |  |  |  | SIMPLE CASH FLOW TABLE
Life cycle period (years) | 15 |  | You might also need to edit formulas/pointers based on the nature of the analysis. |  |  |  |  | Mainaince and repair | [5 empty] | Energy
Cost of electricity (kWh) | 0.11 | [12 empty] | Nissan Leaf S (2022) |  | Chevrolet Bolt LT (2023) |  | Tesla Model 3 (2020) |  |  |  |  | Payback Period vs.Nissan Leaf S
Electricity escalation rate | 0 |  | SIMPLE LIFE CYCLE COST TABLE |  |  |  | Time | Nissan Leaf S (2022) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020) | Nissan Leaf S (2022) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020) | Energy Used | Energy Cost | Energy Used | Energy Cost | Energy Used | Energy Cost | Nissan Leaf S (2022) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020)
Cost of gas (therm) | 1.4815 | [5 empty] | 1 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2790.7071 | -5916.2519
Gas escalation rate | 0 |  |  | Nissan Leaf S (2022) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020) | 2 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2781.4142 | -7017.2038
|  |  | Purchase and Installation | 6600 | 9400 | 11415.3 | 3 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2772.1213 | -8118.1557
|  |  | Equipment | 18000 | 22000 | 24879 | 4 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2762.8284 | -9219.1076
Periodic Costs | Cost | In Year(s) | Labor |  |  |  | 5 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2753.5354 | -10320.0595
Honda Civic Oil Change | 45 | Yearly |  |  |  |  | 6 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2744.2425 | -11421.0114
Honda Civic Repair | 1800 | 3 |  |  |  |  | 7 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2734.9496 | -12521.9633
Honda Yearly Auto Insurance | 900 | Yearly | Civic Sale | -6000 | -6000 | -6000 | 8 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2725.6567 | -13622.9152
Tesla Yearly Auto Insurace | 2580 |  | Clean Car Tex Credit | -5400 | -6600 | -7463.7 | 9 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2716.3638 | -14723.8672
Chevrolet Bolt Yearly Auto Insurance | 1440 | [5 empty] | 10 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2707.0709 | -15824.8191
Nissan Leaf S Yearly Auto Insurance | 1440 |  | Maintenance and Repair | 21600 | 21600 | 38700 | 11 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2697.778 | -16925.771
Chevrolet Bolt Battery Replacement | 16500 | 13 |  |  |  |  | 12 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -2688.4851 | -18026.7229
Nissan Leaf S Battery Replacement | 8000 | 13 | Replacement | 8000 | 16500 | 0 | 13 | 1440 | 1440 | 2580 | 8000 | 16500 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 9707.1712 | 18197.8783 | 2808.1231 | -11179.1922 | -11127.6748
Nissan Leaf S Price | 18000 | [5 empty] | 14 | 1440 | 1440 | 2580 | 0 | 0 | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -11169.8993 | -12228.6267
Chevrolet Bolt LT | 22000 |  | Energy | 4007.5676 | 3868.1739 | 3421.8462 | 15 | 1440 | 1440 | 2580 |  |  | 0 | 2428.8288 | 267.1712 | 2344.3478 | 257.8783 | 2073.8462 | 228.1231 | 1707.1712 | 1697.8783 | 2808.1231 | -11160.6063 | -13329.5786
Tesla Model 3 | 24879 | [5 empty] | 16 | [12 empty] | 0 | 0 | 0 | 0 | 0
|  |  | End-of-Life |  |  |  | 17 | [12 empty] | 0 | 0 | 0 | 0 | 0
|  |  | Salvage |  |  |  | 18 | [12 empty] | 0 | 0 | 0 | 0 | 0
|  |  | Disposal |  |  |  | 19 | [12 empty] | 0 | 0 | 0
Other Givens &Assumptions | [6 empty] | 20 | [12 empty] | 0 | 0 | 0 | 0
Tesla Model 3 | 130 | MPGe | TOTAL LCC | 40207.5676 | 51368.1739 | 53537.1462 | Total | 21600 | 21600 | 38700 | 8000 | 16500 | 0 | 36432.4324 | 4007.5676 | 35165.2174 | 3868.1739 | 31107.6923 | 3421.8462
Chevrolet Bolt LT | 115 | MPGe | Net Savings |  | -11160.6063 | -13329.5786
Nissan Leaf S | 111 | MPGe
Miles driven Annual for primary car | 8000 | miles
Sale of the Honda Civic | -6000 | cost
One Gallon of Gaseline to kWh | 33.7 | kWh | DISCOUNTED LIFE CYCLE COST TABLE
kWh/mile for Tesla Model 3 | 0.25923 | kWh/mile
kWh/mile for Chevrolet Bolt LT | 0.29304 | kWh/mile |  | Nissan Leaf S (2022) | Chevrolet Bolt LT (2023) | Tesla Model 3 (2020)
kWh/mile for Nissan Leaf S | 0.3036 | kWh/mile | Purchase and Installation | 6600 | 9400 | 11415.3
Equipment
Annual Energy Use for Tesla Model 3 | 2073.8462 | kWh/year | Labor
Annual Energy Use for Chevrolet Bolt LT | 2344.3478 | kWh/year | Other cost A
Annual Energy Use for Nissan Leaf S | 2428.8288 | kWh/year | Other cost B
Incentive A
Nissan Leaf S Used Clean Car Tax Credit | 5400 | $ | Incentive B
Chevrolet Bolt LT | 6600 | $
Tesla Model 3 | 7463.7 | $ | Maintenance and Repair
Replacement
Energy
End-of-Life
Salvage
Disposal
|  |  | TOTAL LCC | 6600 | 9400 | 11415.3
Note on M7: Papadakis, Maria C - papadamc: These numbers are "N", the increment of time. For our projects, they represent years. (As in the end of the year.)
Note on N7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on O7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on P7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on Z7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on AA7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on AB7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on AD7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on AE7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on AF7: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on G9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on A12: Papadakis, Maria C - papadamc: List the periodic costs here and note which option they are for and what type (e.g., M&R or R). You will point to these in the cash flow tables.
Note on B15: Chizmadia, Alex Powell - chizmaap: $75 a month
Note on B16: Chizmadia, Alex Powell - chizmaap: $215 monthly
Note on B17: Chizmadia, Alex Powell - chizmaap: $120 monthly
Note on B18: Chizmadia, Alex Powell - chizmaap: $120 monthly
Note on B19: Chizmadia, Alex Powell - chizmaap: Estimated around 100,000 miles. also 5.55 years going 18,000 miles annually in primary car
Note on B20: Chizmadia, Alex Powell - chizmaap: Estimated around 100,000 miles. also 5.55 years going 18,000 miles annually in primary car
Note on F25: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.
Note on H29: Chizmadia, Alex Powell - chizmaap: this should match the final payback year
Note on G35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on F51: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.

## Air Conditioner
You might need to edit formulas/pointers in this cash flow table based on the nature of the analysis.
Givens & assumptions |  |  | These life cycle cost tables require you to enter some formulas. |  |  |  |  | SIMPLE CASH FLOW TABLE
Life cycle period (years) | 15 |  | You might also need to edit formulas/pointers based on the nature of the analysis. |  |  |  |  | Maintaince and Repair |  |  | Replacement |  |  | Energy
Cost of electricity (kWh) | 0.11 | [12 empty] | 14.3 SEER2 |  | EnergyStarSEER2 16.2 |  | SEER 18.0 |  | Total Simpluy Yearly Costs |  |  | Payback Period vs. 14.3 Seer2
Electricity escalation rate | 0 |  | SIMPLE LIFE CYCLE COST TABLE |  |  |  | Time | 14.3 SEER2 | EnergyStarSEER2 16.2 | SEER 18.0 | 14.3 SEER2 | EnergyStarSEER2 16.2 | SEER 18.0 | Energy Used | Energy Cost | Energy Used | Energy Cost | Energy Used | Energy Cost | 14.3 SEER2 | EnergyStarSEER2 16.2 | SEER 18.0 | EnergyStarSEER2 16.2 | SEER 18.0
Cost of gas (therm) | 1.4815 | [5 empty] | 1 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | -364.3457 | -2337.5111
Gas escalation rate | 0 |  |  | 14.3 SEER2 | EnergyStarSEER2 16.2 | SEER 18.0 | 2 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | -328.6914 | -2275.0222
|  |  | Purchase and Installation | 8500 | 8900 | 10900 | 3 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | -293.037 | -2212.5333
|  |  | Equipment |  |  |  | 4 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | -257.3827 | -2150.0444
Periodic Costs | Cost | In Year(s) | Labor |  |  |  | 5 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | -221.7284 | -2087.5556
14.3 SEER2 P&I | 8500 | 0 | Other cost A |  |  |  | 6 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | -186.0741 | -2025.0667
Energy Star SEER2 16.2 P&I | 9500 | 0 | Other cost B |  |  |  | 7 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | -150.4198 | -1962.5778
Seer 18.0 | 11500 | 0 | Tax Credit | 0 | -600 | -600 | 8 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | -114.7654 | -1900.0889
|  |  | Incentive B |  |  |  | 9 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | -79.1111 | -1837.6
[7 empty] | 10 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | -43.4568 | -1775.1111
|  |  | Maintenance and Repair | 0 | 0 | 0 | 11 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | -7.8025 | -1712.6222
[7 empty] | 12 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | 27.8519 | -1650.1333
|  |  | Replacement | 0 | 0 | 0 | 13 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | 63.5062 | -1587.6444
[7 empty] | 14 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | 99.1605 | -1525.1556
|  |  | Energy | 4560 | 4025.1852 | 3622.6667 | 15 | [6 empty] | 2763.6364 | 304 | 2439.5062 | 268.3457 | 2195.5556 | 241.5111 | 304 | 268.3457 | 241.5111 | 134.8148 | -1462.6667
[7 empty] | 16 | [12 empty] | 0 | 0 | 0
|  |  | End-of-Life |  |  |  | 17 | [12 empty] | 0 | 0 | 0
|  |  | Salvage |  |  |  | 18 | [12 empty] | 0 | 0 | 0
|  |  | Disposal |  |  |  | 19 | [12 empty] | 0 | 0 | 0
[7 empty] | 20 | [12 empty] | 0 | 0 | 0
Other Givens &Assumptions |  |  | TOTAL LCC | 13060 | 12925.1852 | 14522.6667 | Total | 0 | 0 | 0 | 0 | 0 | 0 | 41454.5455 | 4560 | 36592.5926 | 4025.1852 | 32933.3333 | 3622.6667
Annual kWh usage with current system | 3200 | kwh |  |  | 134.8148 | -1597.4815
Annual wh Usage with current system | 3200000 | wh
14.3 SEER2 Rating | 14.3 | SEER2 Rating
Energy Star SEER2 Rating | 16.2 | SEER2 Rating
A SEER 18.0 | 18 | SEER2 Rating | DISCOUNTED LIFE CYCLE COST TABLE
Current system SEER Rating | 12.35 | SEER2 Rating |  | 14.3 SEER2 | EnergyStarSEER2 16.2 | SEER 18.0
|  |  | Purchase and Installation | 8500 | 8900 | 10900
Annual Cooling Load with current system | 39520000 | BTU/Year | Equipment
Labor
Annual Electricity Use for 14.3 SEER2 | 2763.6364 | kwh/year | Other cost A
Annual Electricity Use for Energy Star SEER2 16.2 | 2439.5062 | kwh/year | Other cost B
Annual Electricity Use for A SEER 18.0 | 2195.5556 | kwh/year | Incentive A
Incentive B
Energy Star SEER2 Tax Credit | 2850 | $
SEER 18.0 Tax Credit | 3450 | $ | Maintenance and Repair
Eligible tax Credit | -600 | $
Replacement
Energy
End-of-Life
Salvage
Disposal
|  |  | TOTAL LCC | 8500 | 8900 | 10900
Note on M7: Papadakis, Maria C - papadamc: These numbers are "N", the increment of time. For our projects, they represent years. (As in the end of the year.)
Note on G9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on G10: Chizmadia, Alex Powell - chizmaap: Includes cost and installation for all units
Note on A12: Papadakis, Maria C - papadamc: List the periodic costs here and note which option they are for and what type (e.g., M&R or R). You will point to these in the cash flow tables.
Note on A13: Chizmadia, Alex Powell - chizmaap: 14.3 Seer does not meet tax credit because to be eligible must be SEER2 > 16
Note on F25: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.
Note on G35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on A39: Chizmadia, Alex Powell - chizmaap:
Note on B43: Chizmadia, Alex Powell - chizmaap: Energy Tax Credit is 30% of sales but capped at $600
Note on F51: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.

## Insulation
reduced by 127.2 therms/yr, total of 512 therms yr
You might need to edit formulas/pointers in this cash flow table based on the nature of the analysis.
Givens & assumptions |  |  | These life cycle cost tables require you to enter some formulas. | [6 empty] | SIMPLE CASH FLOW TABLE
Life cycle period (years) | 15 |  | You might also need to edit formulas/pointers based on the nature of the analysis. | [6 empty] | Maintenance & Repair |  |  |  | Replacement |  |  |  | Energy
Cost of electricity (kWh) | 0.11 | [16 empty] | R13, AFUE 80 |  | R38, AFUE 80 |  | R38, AFUE95 |  | Total Simple Yearly Costs |  |  | Payback Period vs. R13
Electricity escalation rate | 0 |  | SIMPLE LIFE CYCLE COST TABLE | [5 empty] | Time | Option 1 | Option 2 | Option 3 | Option 4 | Option 1 | Option 2 | Option 3 | Option 4 | Energy Used | Energy Cost | Energy Used | Energy Cost | Energy Used | Energy Cost | R13, AFUE 80 | R49, AFUE 80 | R49, AFUE95 | R49, AFUE 80 | R49, AFUE95
Cost of gas (therm) | 1.4815 | [7 empty] | 1 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -2451.5532 | -2331.7856
Gas escalation rate | 0 |  |  | R13, AFUE 80 | R49, AFUE 80 | R49, AFUE95 |  |  | 2 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -2263.1064 | -2023.5712
|  |  | Purchase and Installation | 0 | 2640 | 2640 |  |  | 3 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -2074.6596 | -1715.3569
|  |  | Equipment | 0 | 3432 | 3432 |  |  | 4 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -1886.2128 | -1407.1425
Periodic Costs | Cost | In Year(s) | Labor | 0 |  |  |  |  | 5 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -1697.766 | -1098.9281
R38 Batt Insulation (per bag) | 85.8 | 1 | Other cost A | 0 |  |  |  |  | 6 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -1509.3192 | -790.7137
Manufacture Rebate (per bag) | -19.8 | 1 | Other cost B | 0 |  |  |  |  | 7 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -1320.8724 | -482.4993
|  |  | Incentive A | 0 | -792 | -792 |  |  | 8 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -1132.4256 | -174.285
|  |  | Incentive B | 0 |  |  |  |  | 9 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -943.9788 | 133.9294
[9 empty] | 10 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -755.532 | 442.1438
|  |  | Maintenance and Repair | [5 empty] | 11 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -567.0852 | 750.3582
[9 empty] | 12 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -378.6384 | 1058.5725
|  |  | Replacement | [5 empty] | 13 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -190.1916 | 1366.7869
[9 empty] | 14 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | -1.7448 | 1675.0013
|  |  | Energy | 11377.92 | 8551.218 | 6754.7043 |  |  | 15 | [8 empty] | 512 | 758.528 | 384.8 | 570.0812 | 303.9579 | 450.3136 | 758.528 | 570.0812 | 450.3136 | 186.702 | 1983.2157
[9 empty] | 16 | [14 empty] | 0 | 0 | 0
|  |  | End-of-Life | [5 empty] | 17 | [14 empty] | 0 | 0 | 0
|  |  | Salvage | [5 empty] | 18 | [14 empty] | 0 | 0 | 0
|  |  | Disposal | [5 empty] | 19 | [14 empty] | 0 | 0 | 0
[9 empty] | 20 | [14 empty] | 0 | 0 | 0
Other Givens &Assumptions |  |  | TOTAL LCC | 11377.92 | 11191.218 | 9394.7043 | 0 | 0 | Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7680 | 11377.92 | 5772 | 8551.218 | 4559.3684 | 6754.7043
Current furnace efficiency | 0.8 | AFUE
Current furnace energy use | 512 | therms
New Furnance Efficiency | 0.95 | AFUE
Total Heating Fuel Savings from R38 Insulation | 127.2 | Therms
Total Annual Heating Fuel with R38 Insulation | 384.8 | Therms | DISCOUNTED LIFE CYCLE COST TABLE
Total Annual Heating Fuel with R38 Insulation & 95 AFUE | 303.9579 | Therms
Home heating load [current energy use X current AFUE] | 409.6 | therms |  |  | R49, AFUE 80 | R49, AFUE95 | 0 | 0
Annual energy use, 90 AFUE | 431.1579 | therms | Purchase and Installation |  | 2640 | 2640 | 0 | 0
Equipment
Labor
Other cost A
Other cost B
Incentive A
Incentive B
Maintenance and Repair
Replacement
Energy
End-of-Life
Salvage
Disposal
|  |  | TOTAL LCC |  | 2640 | 2640 | 0 | 0
Note on O7: Papadakis, Maria C - papadamc: These numbers are "N", the increment of time. For our projects, they represent years. (As in the end of the year.)
Note on G9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on J9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on K9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H10: Chizmadia, Alex Powell - chizmaap: 2640.00? IN PAPS SHEET
Note on I10: Chizmadia, Alex Powell - chizmaap: 2640.00? IN PAPS SHEET
Note on A12: Papadakis, Maria C - papadamc: List the periodic costs here and note which option they are for and what type (e.g., M&R or R). You will point to these in the cash flow tables.
Note on F25: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.
Note on H35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on J35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on K35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on F51: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.

## PVs
You might need to edit formulas/pointers in this cash flow table based on the nature of the analysis.
Givens & assumptions |  |  | These life cycle cost tables require you to enter some formulas. |  |  |  | SIMPLE CASH FLOW TABLE
Life cycle period (years) | 15 |  | You might also need to edit formulas/pointers based on the nature of the analysis. |  |  |  | Maintenance & Repair |  | Replacement |  | Energy
Cost of electricity (kWh) | 0.11 | [9 empty] | Grid Connected Electricity |  | Solar PV System |  | Total Simple Yearly Costs |  | Payback Period vs. Grid Connected Electricity
Electricity escalation rate | 0 |  | SIMPLE LIFE CYCLE COST TABLE |  |  | Time | Grid Connected Electricity | Solar PV System | Grid Connected Electricity | Solar PV System | Energy Used | Energy Cost | Energy Used | Energy Cost | Grid Connected Electricity | Solar PV System | Solar Panels
Cost of gas (therm) | 1.4815 |  |  |  |  | 1 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -11645.5
Gas escalation rate | 0 |  |  | Grid Connected Electricity | Solar PV System | 2 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -10732.5
|  |  | Purchase and Installation |  | 10732.5 | 3 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -9819.5
|  |  | Equipment |  | 10657.5 | 4 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -8906.5
Periodic Costs | Cost | In Year(s) | Labor |  |  | 5 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -7993.5
Inverted Replacement | 2500 | 15 | Net Meter Converted | 0 | 75 | 6 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -7080.5
|  |  | Other cost B |  |  | 7 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -6167.5
|  |  | Incentive A |  |  | 8 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -5254.5
|  |  | Incentive B |  |  | 9 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -4341.5
[6 empty] | 10 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -3428.5
|  |  | Maintenance and Repair | 0 | 2500 | 11 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -2515.5
[6 empty] | 12 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -1602.5
|  |  | Replacement | 0 | 0 | 13 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -689.5
[6 empty] | 14 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | 223.5
|  |  | Energy | 18260 | 0 | 15 |  | 2500 |  |  | 8300 | 913 |  |  | 913 | 2500 | -1363.5
[6 empty] | 16 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | -450.5
|  |  | End-of-Life |  |  | 17 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | 462.5
|  |  | Salvage |  |  | 18 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | 1375.5
|  |  | Disposal |  |  | 19 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | 2288.5
Other Givens &Assumptions | [5 empty] | 20 |  |  |  |  | 8300 | 913 |  |  | 913 | 0 | 3201.5
Cost per watt | 2.9 | $/w | TOTAL LCC | 18260 | 13232.5 | Total | 0 | 2500 | 0 | 0 | 166000 | 18260 | 0 | 0
Total electric need | 5.25 | Kw
Watts needed | 5250 | w
Total cost of equipment | 15225 | $
energy use yearl | 8300 | kwh/year | DISCOUNTED LIFE CYCLE COST TABLE
HEC Meter | 75 | $
|  |  |  | Grid Connected Electricity | Solar PV System
Tax Credit for PV System | 0.3 | Credit | Purchase and Installation | 0 | 10732.5
Money Saved from Tax Credit | 4567.5 | $ | Equipment
New Total Cost of PV System | 10657.5 | $ | Labor
Other cost A
Other cost B
Incentive A
Incentive B
Maintenance and Repair
Replacement
Energy
End-of-Life
Salvage
Disposal
|  |  | TOTAL LCC | 0 | 10732.5
Note on J7: Papadakis, Maria C - papadamc: These numbers are "N", the increment of time. For our projects, they represent years. (As in the end of the year.)
Note on G9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on A12: Papadakis, Maria C - papadamc: List the periodic costs here and note which option they are for and what type (e.g., M&R or R). You will point to these in the cash flow tables.
Note on F25: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.
Note on G35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on F51: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.

## Heat Pump
You might need to edit formulas/pointers in this cash flow table based on the nature of the analysis.
Givens & assumptions |  |  | These life cycle cost tables require you to enter some formulas. |  |  |  |  | SIMPLE CASH FLOW TABLE
Life cycle period (years) | 15 |  | You might also need to edit formulas/pointers based on the nature of the analysis. |  |  |  |  | Maintenance & Repair | Replacement |  |  | Energy
Cost of electricity (kWh) | 0.11 | [8 empty] | Current System (SEER 13 Air Condtioner & 80 AFUE Furnance) |  | RHEEM RP18AZ COOLING |  | RHEEM RP18AZ HEATING |  | Total Simple Yearly Costs |  |  | Payback Period vs. OG System
Electricity escalation rate | 0 |  | SIMPLE LIFE CYCLE COST TABLE |  |  |  | Time | Current System | Option 1 | Energy Used | Energy Cost | Energy Used | Energy Cost | Energy Used | Energy Cost | Current System (SEER 13 Air Condtioner & 80 AFUE Furnance) | RHEEM RP18AZ Total | 95 AFUE Furnance & SEER2 16.2 Air Conditioner | RHEEM RP18AZ | 95 AFUE Furnance & SEER2 16.2 Air Conditioner
Cost of gas (therm) | 1.4815 | [5 empty] | 1 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -14439.4409 | -12984.9653
Gas escalation rate | 0 |  |  | Current System (SEER 13 Air Condtioner & 80 AFUE Furnance) | RHEEM RP18AZ | 95 AFUE Furnance & SEER2 16.2 Air Conditioner | 2 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -13538.8818 | -12219.9306
|  |  | Purchase and Installation | 0 | 15340 | 13750 | 3 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -12638.3227 | -11454.8959
|  |  | Equipment | 0 | 15990 | 0 | 4 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -11737.7636 | -10689.8612
Periodic Costs | Cost | In Year(s) | Labor | 0 | 1350 | 0 | 5 | 2200 |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 3872.1408 | 771.5817 | 907.1061 | -8637.2045 | -7724.8265
RHEEM RP18AZ | 15000 | 1 |  | 0 | 0 | 0 | 6 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -7736.6454 | -6959.7918
Disposal (AC/Furnace) | 700 |  |  | 0 | 0 | 0 | 7 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -6836.0863 | -6194.7571
Ductwork Labor | 650 | 1 | Tax Credit | 0 | -2000 | 0 | 8 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -5935.5272 | -5429.7224
Ductwork Modification | 440 | 1 | Incentive B |  |  |  | 9 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -5034.9681 | -4664.6877
Upgrade Electrical Panel | 550 | 1 |  |  |  |  | 10 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -4134.409 | -3899.653
|  |  | Maintenance and Repair | 2200 | 0 | 0 | 11 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -3233.8499 | -3134.6183
Likely Repairs to Current Furnance and Air | 2200 | 5 |  |  |  |  | 12 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -2333.2908 | -2369.5836
|  |  | Replacement | 0 | 0 | 0 | 13 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -1432.7317 | -1604.5489
[7 empty] | 14 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | -532.1726 | -839.5142
|  |  | Energy | 25082.112 | 11573.7255 | 13606.5915 | 15 |  |  | 15201.28 | 1672.1408 | 2195.5556 | 241.5111 | 4818.8235 | 530.0706 | 1672.1408 | 771.5817 | 907.1061 | 368.3865 | -74.4795
[7 empty] | 16 | [9 empty] | 0 | 0
|  |  | End-of-Life |  |  |  | 17 | [9 empty] | 0 | 0
|  |  | Salvage |  |  |  | 18 | [9 empty] | 0 | 0
|  |  | Disposal |  |  |  | 19 | [9 empty] | 0 | 0
[7 empty] | 20 | [9 empty] | 0 | 0
|  |  | TOTAL LCC | 27282.112 | 26913.7255 | 27356.5915 | Total | 2200 | 0 | 228019.2 | 25082.112 | 32933.3333 | 3622.6667 | 72282.3529 | 7951.0588 |  | 11573.7255 | 12699.4854
Other Givens &Assumptions
Annual kWh usage with current system | 3200 | kwh
Annual wh Usage with current system | 3200000 | wh
Current system SEER Rating | 12.35 | SEER2 Rating | DISCOUNTED LIFE CYCLE COST TABLE
Annual Cooling Load with current system | 39520000 | BTU/Year |  |  | RHEEM RP18AZ
|  |  | Purchase and Installation |  | 15340
Current furnace efficiency | 0.8 | AFUE | Equipment
Current furnace energy use | 512 | therms | Labor
Current Furnance Electricity Use | 12001.28 | Kwh | Other cost A
Annual Home Heating Load | 409.6 | Therms | Other cost B
Annual Home Heating Load | 40960000 | BTU/year | Incentive A
Annual Home Heating Load kwh | 12001.28 | kwh | Incentive B
RHEEM RP16AZ SEER2 Rating | 18 | SEER2 Rating
RHEEM RP16AZ HSPF2 Rating | 8.5 | HSPF2 | Maintenance and Repair
Annual Electricity Use for RHEEM SEER2 Cooling | 2195.5556 | kwh | Replacement
Annual Electricity Use for RHEEM SEER2 Heating | 4818.8235 | kwh
Total Annual Electricity Use for RHEEM SEER2 | 7014.3791 |  | Energy
Eligible Tax Credit | -2000 | $ | End-of-Life
Salvage
Disposal
|  |  | TOTAL LCC |  | 15340
Note on L7: Papadakis, Maria C - papadamc: These numbers are "N", the increment of time. For our projects, they represent years. (As in the end of the year.)
Note on H9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on A12: Papadakis, Maria C - papadamc: List the periodic costs here and note which option they are for and what type (e.g., M&R or R). You will point to these in the cash flow tables.
Note on B13: Chizmadia, Alex Powell - chizmaap: Includes equipment and installation labor
Note on F25: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.
Note on H35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on F51: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.

## Hot Water Heater
You might need to edit formulas/pointers in this cash flow table based on the nature of the analysis.
Givens & assumptions |  |  | These life cycle cost tables require you to enter some formulas. | [5 empty] | SIMPLE CASH FLOW TABLE
Life cycle period (years) | 15 |  | You might also need to edit formulas/pointers based on the nature of the analysis. | [5 empty] | Maintenance & Repair |  |  |  | Replacement |  |  |  | Energy
Cost of electricity (kWh) | 0.11 | [13 empty] | OG SYSTEM |  | 55-Gallon Tank |  | 50-Gallon Heat Pump |  | Total Simple Yearly Costs |  | Payback Period vs. Option 1
Electricity escalation rate | 0 |  | SIMPLE LIFE CYCLE COST TABLE |  |  |  |  | Time | 50-Gallon Tank | 50-Gallon Heat Pump |  |  | 50-Gallon Tank | 50-Gallon Heat Pump | Energy Used | Energy Cost | Energy Used | Energy Cost | Energy Used | Energy Cost | 50-Gallon Tank | 50-Gallon Heat Pump | 50-Gallon Heat Pump | Option 3 | Option 4
Cost of gas (therm) | 1.4815 | [6 empty] | 1 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | -2065.8794
Gas escalation rate | 0 |  |  | 50-Gallon Tank | 50-Gallon Heat Pump | Option 3 | Option 4 | 2 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | -1856.7588
|  |  | Purchase and Installation | 1219 | 2275 |  |  | 3 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | -1647.6382
|  |  | Equipment | 569 | 1500 |  |  | 4 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | -1438.5176
Periodic Costs | Cost | In Year(s) | Labor (Installation) | 500 | 625 |  |  | 5 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | -1229.397
50 Gallon Tank Repair | 230 | 8 | Cost to Remove old Furnance | 150 | 150 |  |  | 6 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | -1020.2764
[8 empty] | 7 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | -811.1558
[8 empty] | 8 | 230 | [5 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 395.928 | 39.7714 | -602.0352
[8 empty] | 9 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | -392.9146
[8 empty] | 10 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | -183.794
|  |  | Maintenance and Repair | 230 | 0 |  |  | 11 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | 25.3266
[8 empty] | 12 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | 234.4472
|  |  | Replacement | 0 | 0 |  |  | 13 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | 443.5678
[8 empty] | 14 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | 652.6884
|  |  | Energy | 2488.92 | 596.571 |  |  | 15 | [6 empty] | 168 | 248.892 | 112 | 165.928 | 26.8454 | 39.7714 | 165.928 | 39.7714 | 861.809
|  |  | End-of-Life | 0 | 0
Salvage
Disposal
Other Givens &Assumptions |  |  | TOTAL LCC | 3937.92 | 2871.571 | 0 | 0 | Total | 230 | 0 | 0 | 0 | 0 | 0 | 2520 | 3733.38 | 1680 | 2488.92 | 402.6804 | 596.571
50 Gallon Tank Universal Energy Factor (UEF) | 0.93 | UEF
50 Gallon Heat Pump Universal Energy Factor (UEF) | 3.88 | UEF
Current Water Heater UEF | 0.62 | UEF
Current Water Heater Energy Use (annual) | 168 | therms | DISCOUNTED LIFE CYCLE COST TABLE
Home Heating Load | 104.16 | Therms |  | 50-Gallon Tank | 50-Gallon Heat Pump | Option 3 | Option 4
Annual Energy Use 50 Gal Tank | 112 | Therms | Purchase and Installation | 1219 | 2275 | 0 | 0
Annual Energy Use 50 Gal Heat Pump | 26.8454 | Therms | Equipment
Labor
Home Heating Load kwh | 3051.888 | Kwh | Other cost A
Annual Energy Use 50 Gal Tank | 3281.6 | kwh | Other cost B
Annual Energy Use 50 Gal Heat Pump | 786.5691 | kwh | Incentive A
Incentive B
Maintenance and Repair
Replacement
Energy
End-of-Life
Salvage
Disposal
|  |  | TOTAL LCC | 1219 | 2275 | 0 | 0
Note on N7: Papadakis, Maria C - papadamc: These numbers are "N", the increment of time. For our projects, they represent years. (As in the end of the year.)
Note on G9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on J9: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H11: Chizmadia, Alex Powell - chizmaap: Add notes in cell if Labor & Equipment is combined
Note on A12: Papadakis, Maria C - papadamc: List the periodic costs here and note which option they are for and what type (e.g., M&R or R). You will point to these in the cash flow tables.
Note on F25: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.
Note on B33: Chizmadia, Alex Powell - chizmaap: Note in Original Document they use 14 therms per month for hot water
Note on G35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on H35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on I35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on J35: Papadakis, Maria C - papadamc: Rename the generic "option" to the equipment it represents.
Note on F51: Papadakis, Maria C - papadamc: Salvage should be entered as a negative cost, because it is revenue. Otherwise the LCC total formula will not work correctly.